前 言

1 模板介绍

本模板主要用于指导FDA 510(k)项目，不仅可用于指导eSTAR的资料编写，也可适当的用于指导项目的进行，可参照模板中的批注、示例进行资料拟制、开展项目；其他产品可以作为参考。

本模板主要包含三个部分：
第一部分：F510YY 001-1.0 eSTAR填写版参考模板；(以一个产品为例，编写FDA 510(k)资料)；

第二部分：F510YY 001-2.0_0，F510YY 001-2.0_1，F510YY 001-2.0_2....., F510YY 001-2.0_14；（按照FDA发布的eSTAR原文件里面的批注，整理的各资料的要求备注）；

第三部分：F510YY 001-2.0_1-1 ，F510YY 001-2.0_1-2，F510YY 001-2.0_2-1 ....., F510YY 001-2.0_14-6；(该部分内容为FDA eSTAR中要求加入附件的内容模板)。

2 模板目的

本模板主要用于FDA 510(k)注册项目。

3 模板主要内容

模板包括以下内容，一共67份文件，共341页。

| 序号 | 申报资料二级标题 | 页数 |
| --- | --- | --- |
| 1 | F510YY 001-0.0_前言 | 5 |
| 2 | F510YY 001-1.0 eSTAR填写版参考模板 | 32 |
| 3 | F510YY 001-2.0_0 Application Submission Type | 3 |
| 4 | F510YY 001-2.0_1 Cover Letter Letters of Reference | 2 |
| 5 | - F510YY 001-2.0_1-1 Attach your Cover Letter | 6 |
| 6 | - F510YY 001-2.0_1-2 Attach any Letters of Reference | 2 |
| 7 | F510YY 001-2.0_2 Administrative Information | 4 |
| 8 | - F510YY 001-2.0_2-1 Pre-submission correspondence | 2 |
| 9 | - F510YY 001-2.0_2-2 Standards Details Supplemental Documentation | 2 |
| 10 | F510YY 001-2.0_3 Device Description | 11 |
| 11 | - F510YY 001-2.0_3-1 Comprehensive Device Description and Principles of Operation Documentation | 4 |
| 12 | - F510YY 001-2.0_3-2 Device Pictures, Illustrations, Schematics, Diagrams | 2 |
| 13 | - F510YY 001-2.0_3-3 Description of Device Packaging | 2 |
| 14 | - F510YY 001-2.0_3-4 SystemKit Component 1 | 2 |
| 15 | - F510YY 001-2.0_3-5 SystemKit Component 2 | 2 |
| 16 | - F510YY 001-2.0_3-6 SystemKit Component 3 | 2 |
| 17 | F510YY 001-2.0_4 Indications for Use | 1 |
| 18 | F510YY 001-2.0_5 Classification | 3 |
| 19 | F510YY 001-2.0_6 Predicates and Substantial Equivalence | 4 |
| 20 | - F510YY 001-2.0_6-1 Substantial Equivalence Comparison | 3 |
| 21 | F510YY 001-2.0_7 Labeling | 6 |
| 22 | - F510YY 001-2.0_7-1 Package Label | 3 |
| 23 | - F510YY 001-2.0_7-2 Instructions for Use | 2 |
| 24 | - F510YY 001-2.0_7-3 Other Labeling | 2 |
| 25 | F510YY 001-2.0_8 Reprocessing, Sterility, and Shelf-Life | 13 |
| 26 | - F510YY 001-2.0_8-1 Reprocessing validation report | 2 |
| 27 | - F510YY 001-2.0_8-2 Sterilization validation | 2 |
| 28 | - F510YY 001-2.0_8-3 Shelf-Life test report | 14 |
| 29 | - F510YY 001-2.0_8-4 Package Validation | 2 |
| 30 | F510YY 001-2.0_9 Biocompatibility | 12 |
| 31 | - F510YY 001-2.0_9-1 Biocompatibility Reports and Documentation | 2 |
| 32 | F510YY 001-2.0_10 Software Firmware & Cybersecurity Interoperability | 17 |
| 33 | - F510YY 001-2.0_10-1 Software Description | 5 |
| 34 | - F510YY 001-2.0_10-2 Device Hazard Analysis | 6 |
| 35 | - F510YY 001-2.0_10-3 Software Requirements Specifications (SRS) | 5 |
| 36 | - F510YY 001-2.0_10-4 Architecture Design Chart | 4 |
| 37 | - F510YY 001-2.0_10-5 Software Design Specifications (SDS) | 4 |
| 38 | - F510YY 001-2.0_10-6 Traceability AnalysisMatrix | 5 |
| 39 | - F510YY 001-2.0_10-7 Software Development EnvironmentLife Cycle Process Description | 8 |
| 40 | - F510YY 001-2.0_10-8 Verification & Validation Testing | 5 |
| 41 | - F510YY 001-2.0_10-9 Revision Level History | 3 |
| 42 | - F510YY 001-2.0_10-10 Unresolved Anomalies | 3 |
| 43 | - F510YY 001-2.0_10-11 Risk Management | 44 |
| 44 | - F510YY 001-2.0_10-12 Cybersecurity Management Plan | 2 |
| 45 | - F510YY 001-2.0_10-13 Interoperability Risk Assessment Verification and Validation | 2 |
| 46 | F510YY 001-2.0_11 EMC, Wireless, Electrical, Mechanical, and Thermal Safety | 17 |
| 47 | - F510YY 001-2.0_11-1 EMC Emissions and Immunity Test Information | 2 |
| 48 | - F510YY 001-2.0_11-2 Modifications | 2 |
| 49 | - F510YY 001-2.0_11-3 Coexistence Testing | 2 |
| 50 | - F510YY 001-2.0_11-4 Electromagnetic Compatibility testing | 2 |
| 51 | - F510YY 001-2.0_11-5 Safeguards | 2 |
| 52 | - F510YY 001-2.0_11-6 Wireless Testing | 2 |
| 53 | - F510YY 001-2.0_11-7 Electrical, Mechanical and Thermal Testing | 2 |
| 54 | F510YY 001-2.0_12 Performance Testing | 10 |
| 55 | - F510YY 001-2.0_12-1 Bench Testing | 4 |
| 56 | - F510YY 001-2.0_12-2 Animal Testing report | 2 |
| 57 | - F510YY 001-2.0_12-3 Clinical test report | 2 |
| 58 | F510YY 001-2.0_13 References | 1 |
| 59 | - F510YY 001-2.0_13-1 Summary of literature referenced | 2 |
| 60 | F510YY 001-2.0_14 Administrative Documentation | 3 |
| 61 | - F510YY 001-2.0_14-1 Executive Summary | 4 |
| 62 | - F510YY 001-2.0_14-2-1 Financial Certification | 1 |
| 63 | - F510YY 001-2.0_14-2-2 Disclosure Statement | 2 |
| 64 | - F510YY 001-2.0_14-3 Clinical Trials Certification Form | 4 |
| 65 | - F510YY 001-2.0_14-4 Truthful and Accurate statement | 1 |
| 66 | - F510YY 001-2.0_14-5 510(k) Summary or Statement | 5 |
| 67 | - F510YY 001-2.0_14-6 User Fee form | 2 |
| 合计 |  | 327 |

4 模板的使用注意事项

4.1 此模板可能不包含具体产品的详细内容，部分内容需要结合产品在实际准备注册资料中进行细化；

4.2 此模板可能不包含所有最新的法规要求，部分内容需要结合最新法规要求在实际准备注册资料中进行细化；

4.4 后续的模板中会用以下三种括号来进行标注，以方便大家阅读。

“{}”之间为需要模板使用者独立填写的内容

“【】”之间为龙德对填写内容的相关要求作出的解释及补充说明。

“（）”之间为龙德对填写内容提供的参考示例。

4.5 注册实际递交资料只是“第一部分”。

5 其他提示：
该模板仅供参考，具体内容请以法规要求为准；

6 信息来源

如果需要更多的资料，扫描下方二维码，即可快速进入一站式知识平台医械宝！进入首页下滑找到高级版，即可立享一站式全方位医疗器械知识汇总平台。

医械宝

或进入深圳市龙德生物科技有限公司官网https://hlongmed.com