前 言

1 模板介绍

本模板主要用于指导MDR有源产品注册项目，不仅可用于指导资料编写，也可适当的用于指导项目的进行，可参照模板中的批注、示例进行资料拟制、开展项目；其他产品可以作为参考。

本模板在“MT002 MDR技术文档”基础上参照公告的要求和之前的MDR项目经验，拟制了MDR有源产品注册模板，可作为MDR认证文档的准备参考。

2 模板目的

本模板主要用于MDR有源产品的注册项目。

3 模板主要内容

模板包括以下内容，一共102份文件，共679页。

| 序号 | 文件 | 页数 |
| --- | --- | --- |
| 1 | MY001-000 前言 | 5 |
| 2 | MY001-00 Cover page and contents | 3 |
| 3 | MY001-01 Device description and specification | 9 |
| 4 | - MY001-01-1.1 List of CE marked products | 1 |
| 5 | - MY001-01-1.2 EU Application Annex ABC | 1 |
| 6 | - MY001-01-1.3 Design Specification | 1 |
| 7 | - MY001-01-1.4 Risk class of the device | 1 |
| 8 | - MY001-01-1.5 List of available accessories, combined devices | 1 |
| 9 | - MY001-01-1.6 Valid certificate references for accessories, combined devices | 1 |
| 10 | - MY001-01-1.7 List of all configurations variants | 1 |
| 11 | - MY001-01-1.8 Material safety data sheets | 1 |
| 12 | - MY001-01-1.9 Bill of Materials | 1 |
| 13 | - MY001-01-1.10 Certificates of analysis of suppliers | 1 |
| 14 | - MY001-01-1.11 Overview of generations and similar devices | 1 |
| 15 | - MY001-01-1.12 Market analysis | 3 |
| 16 | MY001-02 Labelling of device and packaging | 4 |
| 17 | - MY001-02-2.1 Labels | 2 |
| 18 | MY001-03 Instruction for use | 4 |
| 19 | - MY001-03-3.1 Instructions for use | 1 |
| 20 | MY001-04 Design Information | 6 |
| 21 | - MY001-04-4.1 Design information | 1 |
| 22 | - MY001-04-4.2 Explanation of which tests are relevant to the current device | 1 |
| 23 | - MY001-04-4.3 History of design changes for already marketed devices | 1 |
| 24 | MY001-05 Manufacturing Information | 7 |
| 25 | - MY001-05-5.1 Manufacturing information, manufacturing flow chart | 1 |
| 26 | - MY001-05-5.2 References to manufacturing process validations and test method validations | 1 |
| 27 | - MY001-05-5.3 Description of subcontracted processes | 1 |
| 28 | - MY001-05-5.4 Certificates of critical suppliers | 1 |
| 29 | - MY001-05-5.5 Valid supplier Valid supplier certificates as mentioned in TÜV SÜD EU Application Appendix ABC | 1 |
| 30 | - MY001-05-5.6 Information on critical suppliers and subcontractors | 1 |
| 31 | - MY001-05-5.7 Information on supplier control | 1 |
| 32 | - MY001-05-5.8 Incoming inspection records | 1 |
| 33 | - MY001-05-5.9 In-process inspection record | 1 |
| 34 | - MY001-05-5.10 Final inspection record | 1 |
| 35 | MY001-06 Applied standards list and GSPR checklist | 7 |
| 36 | - MY001-06-6.1 Checklist for GSPR Compliance Analysis | 121 |
| 37 | - MY001-06-6.2 List of Harmonised Standards | 2 |
| 38 | - MY001-06-6.3 Common Specifications | 1 |
| 39 | - MY001-06-6.4 Other solutions | 1 |
| 40 | - MY001-06-6.5 Gap analysis | 1 |
| 41 | MY001-07 Benefit-risk analysis and risk management | 4 |
| 42 | - MY001-07-7.1 Risk management procedure | 9 |
| 43 | - MY001-07-7.2 Risk Management Plan | 10 |
| 44 | - MY001-07-7.3 Risk Management Report | 51 |
| 45 | MY001-08 Product Verification and validation | 11 |
| 46 | - MY001-08-8.1 Simulated use test | 1 |
| 47 | - MY001-08-8.2 Biocompatibility Evaluation Report | 4 |
| 48 | - MY001-08-8.2.1 Biocompatibility test protocols and reports | 1 |
| 49 | - MY001-08-8.2.2 Overall biological safety assessment | 5 |
| 50 | - MY001-08-8.2.3 Evidence of qualification of experts | 1 |
| 51 | - MY001-08-8.2.4 Qualification of test laboratories | 1 |
| 52 | - MY001-08-8.3.1 Material characterisation test protocols and reports | 1 |
| 53 | - MY001-08-8.3.2 Qualification of test laboratories | 1 |
| 54 | - MY001-08-8.4 Electrical safety test | 4 |
| 55 | - MY001-08-8.5 EMC test | 4 |
| 56 | - MY001-08-8.6 Usability engineering file | 4 |
| 57 | - MY001-08-8.6.1 IEC 62366-2015 Conformance Report | 20 |
| 58 | - MY001-08-8.6.2 Usability Engineering Process Program | 16 |
| 59 | - MY001-08-8.6.3 Usability Engineering Report | 19 |
| 60 | - MY001-08-8.6.4 User Interface Evaluation Plan | 13 |
| 61 | - MY001-08-8.6.5 Formative Evaluation report | 15 |
| 62 | - MY001-08-8.6.6 Summative Evaluation report | 14 |
| 63 | - MY001-08-8.6.6.1 Summative Evaluation record | 1 |
| 64 | - MY001-08-8.7 Software Document | 4 |
| 65 | - MY001-08-8.7.1 Software Description | 3 |
| 66 | - MY001-08-8.7.2 Software development plan | 3 |
| 67 | - MY001-08-8.7.3 Software requirements analysis | 4 |
| 68 | - MY001-08-8.7.4 Software architectural design | 3 |
| 69 | - MY001-08-8.7.5 Software detailed design | 3 |
| 70 | - MY001-08-8.7.6 Software Development Environment Description | 7 |
| 71 | - MY001-08-8.7.7 Software unit implementation and verification | 5 |
| 72 | - MY001-08-8.7.8 Software integration and integration testing | 5 |
| 73 | - MY001-08-8.7.9 Software systems testing | 5 |
| 74 | - MY001-08-8.7.10 software Traceability Analysis | 5 |
| 75 | - MY001-08-8.7.11 software release | 3 |
| 76 | - MY001-08-8.7.12 Unresolved Anomalies | 3 |
| 77 | - MY001-08-8.7.13 EN62304 checklist Compliance Report | 40 |
| 78 | - MY001-08-8.8 Cybersecurity documentation | 1 |
| 79 | MY001-09 Device packaging and transportation | 4 |
| 80 | - MY001-09-9.1 Packaging and transportation test report | 4 |
| 81 | MY001-10 Sterilization, disinfection, and reprocessing | 5 |
| 82 | - MY001-10-10.1 Shelf life verification protocol and report | 16 |
| 83 | - MY001-10-10.2 Re-processing validation protocols and report | 1 |
| 84 | - MY001-10-10.3 Disinfection verification protocol and report | 1 |
| 85 | MY001-11 Clinical evaluation | 5 |
| 86 | - MY001-11.1 Clinical Evaluation Plan | 5 |
| 87 | - MY001-11.2 Clinical Evaluation Report | 40 |
| 88 | - MY001-11-11.2.1 CV of evaluator | 2 |
| 89 | - MY001-11-11.2.2.1 Literature search protocol | 10 |
| 90 | - MY001-11-11.2.2.2 Literature search report | 21 |
| 91 | - MY001-11-11.2.3 CV of literature searcher | 1 |
| 92 | - MY001-11-11.2.4 The literatures used for analysis | 1 |
| 93 | - MY001-11-11.2.5 Clinical evaluation checklist | 13 |
| 94 | - MY001-11-11.2.6 Declaration of Interests | 1 |
| 95 | - MY001-11-11.2.7 IFU of Equivalent device | 1 |
| 96 | MY001-12 PMS plan & PSUR & PMCF | 4 |
| 97 | - MY001-12-12.1 Post Market Surveillance Plan | 13 |
| 98 | - MY001-12-12.2 Post Market Clinical Follow-up Plan | 16 |
| 99 | MY001-13 Declaration of conformity | 4 |
| 100 | - MY001-13-13.1 Declaration of conformity | 1 |
| 101 | MY001-14 Other documents | 4 |
| 102 | - MY001-14-14.1 European Authorized Representation Agreement | 1 |

4 模板的使用注意事项

4.1 此模板是以MDR有源产品递交为例进行编写，做注册递交的资料拟制时还需要考虑到与其他产品类别要求之间的差异。

4.2 此模板可能不包含具体产品的详细内容，部分内容需要结合产品在实际准备注册资料中进行细化；

4.3 此模板可能不包含所有最新的法规要求，部分内容需要结合最新法规要求在实际准备注册资料中进行细化；

4.4 后续的模板中会用以下三种括号来进行标注，以方便大家阅读。

“{}”之间为需要模板使用者独立填写的内容

“【】”之间为龙德对填写内容的相关要求作出的解释及补充说明。

“（）”之间为龙德对填写内容提供的参考示例。

5 其他提示：
该模板仅供参考，具体内容请以法规要求为准；

6 信息来源

如果需要更多的资料，扫描下方二维码，即可快速进入一站式知识平台医械宝！进入首页下滑找到高级版，即可立享一站式全方位医疗器械知识汇总平台。

医械宝

或进入深圳市龙德生物科技有限公司官网https://hlongmed.com