Applied standards list and GSPR checklist

Product Name: {产品名称}

【本处填写产品名称，需要确保全篇技术文档及报告等的名称一致】

Model: {产品型号1}、{产品型号2}、{产品型号N}

【需要罗列本次认证的所有产品型号清单，如型号很多，可以采用另外附件文档的方式给出】

Document No.: {文件编号}

【本处填写本文件的编号】

Edition: {文件版本}

【本处填写本文件的版本】

Approved by:

Audited  by:

Applied  by：

{XXXX公司}

Revision records:

| Edition | Effective Date | Summary of revision | Drafted by | Checked by | Approved by |
| --- | --- | --- | --- | --- | --- |
| {文件版本1} | {年-月-日} | First release | {XX名字} | {XX名字} | {XX名字} |
| {文件版本2} | {年-月-日} | {本版本相对上一版本版本更新了****，主要原因是****, 涉及到修改的小节是*****} 【填写本技术文档的版本相对于上一版本更新了哪些内容？为什么更新？以及更新内容具体的地方及小节编号？】 | {XX名字} | {XX名字} | {XX名字} |
| {文件版本N} | {年-月-日} | {本版本相对上一版本版本更新了****，主要原因是****, 涉及到修改的小节是*****} 【填写本技术文档的版本相对于上一版本更新了哪些内容？为什么更新？以及更新内容具体的地方及小节编号？】 | {XX名字} | {XX名字} | {XX名字} |

# Table of Contents

6 General safety and performance requirements	4

6.1 Applicable General Safety and Performance Requirements (MDR Annex II Section 4(a))	4

6.2 Method or methods used to demonstrate conformity (MDR Annex II Section 4(b)	4

6.3 Harmonised standards, common specifications, or other solutions applied (MDR Articles 8, 9; MDR Annex II Section 4(c))	4

6.4 Controlled documents offering evidence of conformity (MDR Annex II Section 4(d))	5

6.5 Declaration of conformity (MDR Art. 19; Annex IV)	5

- 6 General safety and performance requirements

- 6.1 Applicable General Safety and Performance Requirements (MDR Annex II Section 4(a))

- (

- The details of GSPR checklist can refer to Appendix 6.1 Checklist for GSPR Compliance Analysis.

| SN | Document | Refer to |
| --- | --- | --- |
| 1 | Checklist for General Safety and Performance Requirements Compliance Analysis | Appendix 6.1 Checklist for GSPR Compliance Analysis. |

- )

- 6.2 Method or methods used to demonstrate conformity (MDR Annex II Section 4(b)

- (The details can refer to Appendix 6.1 Checklist for GSPR Compliance Analysis.)

- 6.3 Harmonised standards, common specifications, or other solutions applied (MDR Articles 8, 9; MDR Annex II Section 4(c))

- {

- Harmonised standards

| SN | Standard No. | Standard |
| --- | --- | --- |
| 1 | EN ISO 13485:2016/A11:2021 | Medical devices - Quality management systems - Requirements for regulatory purposes |
| 2 | EN 60601-1:2006+A1:2013+AC:2014+A12:2014 +A2:2020 | Medical electrical equipment - Part 1: General requirements for basic safety and essential performance |
| 3 | EN 60601-1-2:2015+A1:2020 | Medical electrical equipment - Part 1-2: General requirements for basic safety and essential performance - Collateral standard: Electromagnetic disturbances - Requirements and tests |
| 4 | EN ISO 15223-1:2021 | Medical devices - Symbols to be used with information to be supplied by the manufacturer - Part 1: General requirements (ISO 15223-1:2021) |
| 5 | EN ISO 14971:2019/A11:2021 | Medical devices - Application of risk management to medical devices |
| 6 | EN62366-1:2015+AC:2015+AC:2016+A1:2020 | Medical devices -Part 1: Application of usability engineering to medical devices to medical devices |
| 7 | EN ISO 10993-1:2020 | Biological evaluation of medical devices - Part 1: Evaluation and testing within a risk management process |
| 8 | EN ISO 10993-5:2009 | Biological evaluation of medical devices - Part 5: Tests for in vitro cytotoxicity |
| 9 | EN ISO 10993-10:2013 | Biological evaluation of medical devices - Part 10: Tests for irritation and skin sensitization |
| 10 | EN ISO 14155:2020 | Clinical investigation of medical devices for human subjects - Good clinical practice |
| 11 | *** | *** |

- Common specifications

- The device does not contain any Common specifications.

- Other solutions

| SN | Solution | Title |
| --- | --- | --- |
| 1 | Regulation(EU) 2017/745 | Medical devices regulations |
| 2 | MEDDEV 2.12/1 rev 8 (January 2013)+(July 2019) | Guidelines on a medical devices vigilance system＋ Additional guidance on MEDDEV 2.12/1 rev.8 |
| 3 | MEDDEV 2.7.1 Rev.4 (June 2016) | Guidelines On Medical Devices-Clinical evaluation: A Guide for manufacturers and notified bodies |
| 4 | MEDDEV 2.12/2 rev. 2 (January 2012) | Guidelines on medical devices:Post market clinical follow-up studies - A guide for manufacturers and notified bodies |
| 5 | MDCG 2020-7 | Post-market clinical follow-up (PMCF) plan template - A guide for manufacturers and notified bodies |
| 6 | MDCG 2020-5 | A guide for manufacturers and notified bodies: Clinical Evaluation - Equivalence |
| 7 | MDCG 2020-13 | Clinical evaluation assessment report template |

There is no gap analysis between Harmonised standards, common specifications, and other solutions applied.

The details can refer to Appendix 6.2 List of Harmonised Standards, Appendix 6.3 Common Specifications, Appendix 6.4 Other solutions and Appendix 6.5 Gap analysis.

}

- 6.4 Controlled documents offering evidence of conformity (MDR Annex II Section 4(d))

- (The details can refer to Appendix 6.1 Checklist for GSPR Compliance Analysis.)

- 6.5 Declaration of conformity (MDR Art. 19; Annex IV)

- (The details can refer to Appendix 13.1 Declaration of conformity.)