Appendix 6.2 List of Harmonised Standards

{

| SN | Standard No. | Standard |
| --- | --- | --- |
| 1 | EN ISO 13485:2016/A11:2021 | Medical devices - Quality management systems - Requirements for regulatory purposes |
| 2 | EN 60601-1:2006+A1:2013+AC:2014+A12:2014 +A2:2020 | Medical electrical equipment - Part 1: General requirements for basic safety and essential performance |
| 3 | EN 60601-1-2:2015+A1:2020 | Medical electrical equipment - Part 1-2: General requirements for basic safety and essential performance - Collateral standard: Electromagnetic disturbances - Requirements and tests |
| 4 | EN ISO 15223-1:2021 | Medical devices - Symbols to be used with information to be supplied by the manufacturer - Part 1: General requirements (ISO 15223-1:2021) |
| 5 | EN ISO 14971:2019/A11:2021 | Medical devices - Application of risk management to medical devices |
| 6 | EN62366-1:2015+AC:2015+AC:2016+A1:2020 | Medical devices -Part 1: Application of usability engineering to medical devices to medical devices |
| 7 | EN ISO 10993-1:2020 | Biological evaluation of medical devices - Part 1: Evaluation and testing within a risk management process |
| 8 | EN ISO 10993-5:2009 | Biological evaluation of medical devices - Part 5: Tests for in vitro cytotoxicity |
| 9 | EN ISO 10993-10:2013 | Biological evaluation of medical devices - Part 10: Tests for irritation and skin sensitization |
| 10 | EN ISO 14155:2020 | Clinical investigation of medical devices for human subjects - Good clinical practice |
| 11 | **** |  |

}