Appendix 8.2.2 Overall biological safety assessment

1 Product Description

## 【添加产品的描述，同时可用结构图示进行描述。】

## 2 Intended use

【添加产品预期用途。】

3 Materials incorporated into key functional elements

### A description of the raw materials incorporated into key functional elements and those making either direct contact with the human body or indirect contact with the body is as below.

| Model | Components | Contact Method | Contact position | Materials | Supplier |
| --- | --- | --- | --- | --- | --- |
| *** | *** | *** | *** | *** | *** |
|  | *** | *** | *** | *** | *** |
|  | *** | *** | *** | *** | *** |
| *** | *** | *** | *** | *** | *** |
|  | *** | *** | *** | *** | *** |

4 Evaluation Procedures

4.1 Is it in direct or indirect contact?

{【产品名称】 is used to directly contact with the patient’s skin.

According to EN ISO 10993-1, medical device is categorized by nature of contact and duration of contact.

As the categorization by nature of body contact, surface-contacting devices shall be categorized according to their contact with the following application sites:

- Skin

- devices that contact intact skin surfaces only.

Examples Electrodes, external prostheses, fixation tapes, compression bandages and monitors of various types.

- Mucosal membranes

- - devices that contact intact mucosal membranes.

Examples Contact lenses, urinary catheters, intravaginal and intra-intestinal devices(stomach tubes, sigmoidoscopes, colonosopes, gastroscopes), endotracheal tubes, bronchoscopes, some dental prostheses and orthodontic devices.

- Breached or compromised surfaces

- - devices that contact breached or otherwise compromised body surfaces.

- Examples Dressings or healing devices and occlusive patches, for ulcers, burns and granulation tissue.

As the categorization by duration of contact, devices whose cumulative single, multiple or repeated long-term use or contact is likely exceed 24 h but not 30d.

So, the 【产品名称】 is a Surface contacting, Prolonged exposure device.

| SN | Model | Contact with human body | Contact Method | Contact classification |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Category | Contact Duration |
| 1 | **** | **** | **** | **** | **** |
| 2 | **** | **** | **** | **** | **** |

## }

3.2 Obtain material identification information and consider chemical characterization

The material information of 【产品名称】 that contact with the patients is as below.

| Model | Components | Contact method | Contact position | Materials | Supplier |
| --- | --- | --- | --- | --- | --- |
| **** | **** | **** | **** | **** | **** |
|  | **** | **** | **** | **** | **** |
|  | **** | **** | **** | **** | **** |
| **** | **** | **** | **** | **** | **** |
|  | **** | **** | **** | **** | **** |

3.3 Is the material the same as a commercially available device?

(Yes, the material is the same as a commercially available device. The materials have been used by many Reusable temperature probes those market in European. So we consider the material is the same as commercially available device.)

3.4 Does the device have the same chemical composition

(Yes, the device have the same chemical composition. The details of description can refer to section 3.2.)

3.5 Are manufacturing and sterilization the same?

(Yes, the manufacturing and sterilization are the same. The details of description can refer to section 3.2.)

3.6 Is the body contact the same?

(Yes, the body contact is the same. The intended use of the 【产品名称】 does not changed.)

3.7 Perform biological evaluation according to Annex A in the EN ISO 10993-1:2020

(The 【产品名称】 is a Surface contacting, Prolonged exposure device. According to Annex A in the EN ISO 10993-1:2020, the Cytotoxicity, Sensitization and irritation or intracutaneous reactivity should be considered.)

The details of tests carried out are as follows.

| SN | Product | Test basic | Test Item | Report number | Test result |
| --- | --- | --- | --- | --- | --- |
| 1 | *** | ISO 10993-5 | Test for in vitro cytotoxicity | Report No.: *** | PASS |
|  |  | ISO 10993-10 | Test for skin sensitization | Report No.: *** | PASS |
|  |  | ISO 10993-10 | Test for irritation (intracutaneous reactivity test) | Report No.: *** | PASS |

3.8 Biological evaluation completed

After evaluation, the biocompatibility of the accessories of 【产品名称】 was in line with the expected use and regulatory requirements. All the risks related with biological are acceptable and under control.

4 Conclusions

Through the above analysis of biocompatibility, all the biological risks are acceptable and under control. The 【产品名称】 meets the requirement of EN ISO10993-1:2020 Biological evaluation of medical devices-Part 1: Evaluation and testing within a risk management process.