Formative Evaluation report

Product Name: {产品名称 }

Model: {产品型号}

Document No.: {文件编号}

Edition: {文件版本}

Drafted by :       {XX名字}             Date：   {年-月-日}

Checked by:       {XX名字}             Date：   {年-月-日}

Approved by:       {XX名字}            Date：   {年-月-日}

{XXXX公司}

Revision records:

| Edition | Effective Date | Summary of revision | Drafted by | Checked by | Approved by |
| --- | --- | --- | --- | --- | --- |
| {文件版本1} | {年-月-日} | First release | {XX名字} | {XX名字} | {XX名字} |
| {文件版本2} | {年-月-日} | {本版本相对上一版本版本更新了****，主要原因是****, 涉及到修改的小节是*****} 【填写本技术文档的版本相对于上一版本更新了哪些内容？为什么更新？以及更新内容具体的地方及小节编号？】 | {XX名字} | {XX名字} | {XX名字} |
| {文件版本N} | {年-月-日} | {本版本相对上一版本版本更新了****，主要原因是****, 涉及到修改的小节是*****} 【填写本技术文档的版本相对于上一版本更新了哪些内容？为什么更新？以及更新内容具体的地方及小节编号？】 | {XX名字} | {XX名字} | {XX名字} |

Table of Contents

1	Product	4

1.1	Product name and model	4

1.2	The difference between models	4

2	The person participating in FORMATIVE EVALUATION	4

3	Test environment	4

4	Test procedure	4

5	FORMATIVE EVALUATION estimate method and test result.	6

5.1	Test result of Person 1	6

5.2	Test result of Person 2	8

5.3	Test result of Person 3	9

5.4	Test result of Person 4	10

5.5	Test result of Person 5	13

6	Data collection	16

7	Result analysis	16

8	Conclusion	16

Formative Evaluation report

Product

Product name and model

Product Name: {产品名称 }

Model: {产品型号}

The difference between models

| Item | {产品型号1} | {产品型号2} | {产品型号3} |
| --- | --- | --- | --- |
| *** | *** | *** | *** |
| *** | *** | *** | *** |
| *** | *** | *** | *** |
| *** | *** | *** | *** |
| *** | *** | *** | *** |
| *** | *** | *** | *** |

The person participating in FORMATIVE EVALUATION

| Person No. | Name | Department |
| --- | --- | --- |
| Person 1 | *** | R&D department |
| Person 2 | *** | R&D department |
| Person 3 | *** | R&D department |
| Person 4 | *** | R&D department |
| Person 5 | *** | R&D department |

Test environment

Test room in Shenzhen JCR Medical Technology Limited Company.

Operating Temperature: 5℃to 40℃; Operating Humidity: No more than 80%; Operating Hyperbaric Pressure: 70 0kPa to106kPa.

Test procedure

| Procedure | Time | Responsible person | Department |
| --- | --- | --- | --- |
| Write a test plan | 2021.06.07 to 2021.06.08 | *** | R&D department |
| Train the participant | 2021.06.09 to 2021.06.11 | *** | R&D department |
| Test data collection | 2021.06.14 to 2021.06.18 | *** | R&D department |
| Test result analysis | 2021.06.18 to 2021.06.22 | *** | R&D department |
| Write a test report | 2021.06.23 to 2021.06.25 | *** | R&D department |

【请根据实际验证情况补充测试时间和相应过程的负责人，

以下黄色字体为举例，供参考。

这里是实际完成的时间，User Interface Evaluation Plan中的是计划】

FORMATIVE EVALUATION estimate method and test result.

Test result of Person 1

| Test Item | Function |  | User interface requirements | Test method | Acceptable criteria | Test Result | Conclusion |
| --- | --- | --- | --- | --- | --- | --- | --- |
| D1 | observing the output temperature |  | Reading the parameter normally | Reading the parameter in the monitor. | Reading the parameter normally | Reading the parameter normally | Pass |
| D2 | properly positioning clinical probe at measuring site |  | Positioning clinical probe at measuring site successfully and not easy to fall off | Position 【产品名称】 at the measuring site of Rectal cavity. | Positioning clinical probe at measuring site successfully and not easy to fall off | Positioning clinical probe at measuring site successfully and not easy to fall off | Pass |
| D3 | starting the monitor from power off |  | Starting the monitor from power off, the temperature parameter can read normally. | Starting the monitor from power off, connect the temperature probe and read the parameter. | The temperature parameter can read normally. | The temperature parameter can read normally. | Pass |
| D4 | performing a basic pre-use functional check of the alarm signals |  | Before monitoring the temperature, the alarm signals are normal. | Before monitoring the temperature, check the function of alarm signals. | The alarm signals are normal. | The alarm signals are normal. | Pass |
| D5 | Reprocessing the accessories |  | Can clean and disinfect the temperature probe according to the instructions for use. | Clean and disinfect the temperature probe according to the instructions for use. | Can clean and disinfect the temperature probe according to the instructions for use. | Can clean and disinfect the temperature probe according to the instructions for use. The details can refer to “cleaning and disinfection validation report” . | Pass |
| Inspector |  |  |  | Testing date |  |  |  |

【记录姓名和测试日期，与之前参与测试的人员名称呼应】

5.2 Test result of Person 2

| Test Item | Function |  | User interface requirements | Test method | Acceptable criteria | Test Result | Conclusion |
| --- | --- | --- | --- | --- | --- | --- | --- |
| D1 | observing the output temperature |  | Reading the parameter normally | Reading the parameter in the monitor. | Reading the parameter normally | Reading the parameter normally | Pass |
| D2 | properly positioning clinical probe at measuring site |  | Positioning clinical probe at measuring site successfully and not easy to fall off | Position 【产品名称】 at the measuring site of Rectal cavity. | Positioning clinical probe at measuring site successfully and not easy to fall off | Positioning clinical probe at measuring site successfully and not easy to fall off | Pass |
| D3 | starting the monitor from power off |  | Starting the monitor from power off, the temperature parameter can read normally. | Starting the monitor from power off, connect the temperature probe and read the parameter. | The temperature parameter can read normally. | The temperature parameter can read normally. | Pass |
| D4 | performing a basic pre-use functional check of the alarm signals |  | Before monitoring the temperature, the alarm signals are normal. | Before monitoring the temperature, check the function of alarm signals. | The alarm signals are normal. | The alarm signals are normal. | Pass |
| D5 | Reprocessing the accessories |  | Can clean and disinfect the temperature probe according to the instructions for use. | Clean and disinfect the temperature probe according to the instructions for use. | Can clean and disinfect the temperature probe according to the instructions for use. | Can clean and disinfect the temperature probe according to the instructions for use. The details can refer to “cleaning and disinfection validation report” . | Pass |
| Inspector |  |  |  | Testing date |  |  |  |

【记录姓名和测试日期，与之前参与测试的人员名称呼应】

  - 5.3 Test result of Person 3

| Test Item | Function |  | User interface requirements | Test method | Acceptable criteria | Test Result | Conclusion |
| --- | --- | --- | --- | --- | --- | --- | --- |
| D1 | observing the output temperature |  | Reading the parameter normally | Reading the parameter in the monitor. | Reading the parameter normally | Reading the parameter normally | Pass |
| D2 | properly positioning clinical probe at measuring site |  | Positioning clinical probe at measuring site successfully and not easy to fall off | Position 【产品名称】 at the measuring site of Rectal cavity. | Positioning clinical probe at measuring site successfully and not easy to fall off | Positioning clinical probe at measuring site successfully and not easy to fall off | Pass |
| D3 | starting the monitor from power off |  | Starting the monitor from power off, the temperature parameter can read normally. | Starting the monitor from power off, connect the temperature probe and read the parameter. | The temperature parameter can read normally. | The temperature parameter can read normally. | Pass |
| D4 | performing a basic pre-use functional check of the alarm signals |  | Before monitoring the temperature, the alarm signals are normal. | Before monitoring the temperature, check the function of alarm signals. | The alarm signals are normal. | The alarm signals are normal. | Pass |
| D5 | Reprocessing the accessories |  | Can clean and disinfect the temperature probe according to the instructions for use. | Clean and disinfect the temperature probe according to the instructions for use. | Can clean and disinfect the temperature probe according to the instructions for use. | Can clean and disinfect the temperature probe according to the instructions for use. The details can refer to “cleaning and disinfection validation report” . | Pass |
| Inspector |  |  |  | Testing date |  |  |  |

【记录姓名和测试日期，与之前参与测试的人员名称呼应】

  - 5.4 Test result of Person 4

| Test Item | Function |  | User interface requirements | Test method | Acceptable criteria | Test Result | Conclusion |
| --- | --- | --- | --- | --- | --- | --- | --- |
| D1 | observing the output temperature |  | Reading the parameter normally | Reading the parameter in the monitor. | Reading the parameter normally | Reading the parameter normally | Pass |
| D2 | properly positioning clinical probe at measuring site |  | Positioning clinical probe at measuring site successfully and not easy to fall off | Position 【产品名称】 at the measuring site of Rectal cavity. | Positioning clinical probe at measuring site successfully and not easy to fall off | Positioning clinical probe at measuring site successfully and not easy to fall off | Pass |
| D3 | starting the monitor from power off |  | Starting the monitor from power off, the temperature parameter can read normally. | Starting the monitor from power off, connect the temperature probe and read the parameter. | The temperature parameter can read normally. | The temperature parameter can read normally. | Pass |
| D4 | performing a basic pre-use functional check of the alarm signals |  | Before monitoring the temperature, the alarm signals are normal. | Before monitoring the temperature, check the function of alarm signals. | The alarm signals are normal. | The alarm signals are normal. | Pass |
| D5 | Reprocessing the accessories |  | Can clean and disinfect the temperature probe according to the instructions for use. | Clean and disinfect the temperature probe according to the instructions for use. | Can clean and disinfect the temperature probe according to the instructions for use. | Can clean and disinfect the temperature probe according to the instructions for use. The details can refer to “cleaning and disinfection validation report” . | Pass |
| Inspector |  |  |  | Testing date |  |  |  |

【记录姓名和测试日期，与之前参与测试的人员名称呼应】

  - 5.5 Test result of Person 5

| Test Item | Function |  | User interface requirements | Test method | Acceptable criteria | Test Result | Conclusion |
| --- | --- | --- | --- | --- | --- | --- | --- |
| D1 | observing the output temperature |  | Reading the parameter normally | Reading the parameter in the monitor. | Reading the parameter normally | Reading the parameter normally | Pass |
| D2 | properly positioning clinical probe at measuring site |  | Positioning clinical probe at measuring site successfully and not easy to fall off | Position 【产品名称】 at the measuring site of Rectal cavity. | Positioning clinical probe at measuring site successfully and not easy to fall off | Positioning clinical probe at measuring site successfully and not easy to fall off | Pass |
| D3 | starting the monitor from power off |  | Starting the monitor from power off, the temperature parameter can read normally. | Starting the monitor from power off, connect the temperature probe and read the parameter. | The temperature parameter can read normally. | The temperature parameter can read normally. | Pass |
| D4 | performing a basic pre-use functional check of the alarm signals |  | Before monitoring the temperature, the alarm signals are normal. | Before monitoring the temperature, check the function of alarm signals. | The alarm signals are normal. | The alarm signals are normal. | Pass |
| D5 | Reprocessing the accessories |  | Can clean and disinfect the temperature probe according to the instructions for use. | Clean and disinfect the temperature probe according to the instructions for use. | Can clean and disinfect the temperature probe according to the instructions for use. | Can clean and disinfect the temperature probe according to the instructions for use. The details can refer to “cleaning and disinfection validation report” . | Pass |
| Inspector |  |  |  | Testing date |  |  |  |

【记录姓名和测试日期，与之前参与测试的人员名称呼应】

Data collection

No operation difficulties, operation risks and operation failures were found in the test process.

Result analysis

According to the test result of section 5 and data collection of section 6, corresponding measures are taken to improve user interface design combined with risk management.

Conclusion

Every Function meets the User interface requirements.