Summative Evaluation report

Product Name: {产品名称 }

Model: {产品型号}

Document No.: {文件编号}

Edition: {文件版本}

Drafted by :       {XX名字}             Date：   {年-月-日}

Checked by:       {XX名字}             Date：   {年-月-日}

Approved by:       {XX名字}            Date：   {年-月-日}

{XXXX公司}

Revision records:

| Edition | Effective Date | Summary of revision | Drafted by | Checked by | Approved by |
| --- | --- | --- | --- | --- | --- |
| {文件版本1} | {年-月-日} | First release | {XX名字} | {XX名字} | {XX名字} |
| {文件版本2} | {年-月-日} | {本版本相对上一版本版本更新了****，主要原因是****, 涉及到修改的小节是*****} 【填写本技术文档的版本相对于上一版本更新了哪些内容？为什么更新？以及更新内容具体的地方及小节编号？】 | {XX名字} | {XX名字} | {XX名字} |
| {文件版本N} | {年-月-日} | {本版本相对上一版本版本更新了****，主要原因是****, 涉及到修改的小节是*****} 【填写本技术文档的版本相对于上一版本更新了哪些内容？为什么更新？以及更新内容具体的地方及小节编号？】 | {XX名字} | {XX名字} | {XX名字} |

Table of Contents

1 Product	4

1.1 Product name and model	4

1.2 The difference between models	4

2 Considering about user participate in Usability Summative Evaluation	4

3 Test environment	6

4 Test procedure	6

5 Summative Evaluation items and estimate method	6

5.1 Criteria of Summative Evaluation Items	6

5.2 Estimate method of Evaluation	7

5.2.1 Reading Instructions for use	7

5.2.2 Connect the monitor	7

5.2.3 Positioning clinical probe at measuring site	7

5.2.4 Monitoring	9

5.2.5 Disconnection	9

6 Test result analysis	9

6.1 Reading Instructions for use	9

6.2 Connect the monitor	10

6.3 Positioning clinical probe at measuring site	11

6.4 Monitoring	13

6.5 Disconnection	13

7 Conclusion	14

Summative Evaluation report

Product

Product name and model

Product Name: {产品名称 }

Model: {产品型号}

The difference between models

| Item | {产品型号1} | {产品型号2} | {产品型号3} |
| --- | --- | --- | --- |
| *** | *** | *** | *** |
| *** | *** | *** | *** |
| *** | *** | *** | *** |
| *** | *** | *** | *** |
| *** | *** | *** | *** |
| *** | *** | *** | *** |

Considering about user participate in Usability Summative Evaluation

| SQ | Name | Gender | Age | Education background | Occupation | Title | Experience of use | Place |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | *** | *** | *** | *** | *** | *** | *** | *** |
| 2 | *** | *** | *** | *** | *** | *** | *** | *** |
| 3 | *** | *** | *** | *** | *** | *** | *** | *** |
| 4 | *** | *** | *** | *** | *** | *** | *** | *** |
| 5 | *** | *** | *** | *** | *** | *** | *** | *** |
| 6 | *** | *** | *** | *** | *** | *** | *** | *** |
| 7 | *** | *** | *** | *** | *** | *** | *** | *** |
| 8 | *** | *** | *** | *** | *** | *** | *** | *** |
| 9 | *** | *** | *** | *** | *** | *** | *** | *** |
| 10 | *** | *** | *** | *** | *** | *** | *** | *** |

【找10名或20名护士或医生，填写其简历与User Interface Evaluation Plan中的内容相同；】

Test environment

Operating Temperature: 5℃to 40℃; Operating Humidity: No more than 80%; Operating Hyperbaric Pressure: 70 0kPa to106kPa.

Test procedure

| Procedure | Time | Responsible person | Department |
| --- | --- | --- | --- |
| Write a test plan | 2021.03.01 to 2021.03.02 | *** | R&D department |
| Train the participant | 2021.03.03 to 2021.03.05 | *** | R&D department |
| Test data collection | 2021.03.08 to 2021.03.19 | *** | R&D department |
| Test result analysis | 2021.03.22 to 2021.03.23 | *** | R&D department |
| Write a test report | 2021.03.24 to 2021.03.31 | *** | R&D department |

【请根据实际验证情况补充测试时间和相应过程的负责人，

以下黄色字体为举例，供参考。

这里是实际完成的时间，User Interface Evaluation Plan中的是计划】

Summative Evaluation items and estimate method

Criteria of Summative Evaluation Items

| Task | Task Analysis | USER INTERFACE REQUIREMENTS |
| --- | --- | --- |
| Task 1 | Reading Instructions for use | After reading the manual, 95% can understand it; 90% can operate |
| Task 2 | Connect the monitor | 100% can connect the monitor successfully |
|  |  | 95% can complete the connection under 2min |
| Task 3 | Positioning clinical probe at measuring site | 100% can position the temperature probe successfully |
|  |  | 95% can complete the position under 5min |
|  |  | 95% drops off less than 3 times in 8 hours. |
| Task 4 | Monitoring | 100% can monitor the temperature parameter continuously |
|  |  | 5% show anomalies in 8 hour continuous monitoring. |
| Task 5 | Disconnection | After power off, 95% disconnect the temperature probe successfully |

Estimate method of Evaluation

      - 5.2.1 Reading Instructions for use

10 trained people read the instructions for use and operate the device. The recorder records the result as below.

|  | Test Result | Criteria | Conclusion |
| --- | --- | --- | --- |
| Reading Instructions for use | □ Can read □ Can not read | Can read | □ Qualified □ Unqualified |
| Reading Instructions for use | □ Can operate the device □ Can not operate the device | Can operate | □ Qualified □ Unqualified |

      - 5.2.2 Connect the monitor

10 trained people connect the monitor. The recorder records the result.

|  | Test Result | Criteria | Conclusion |
| --- | --- | --- | --- |
| connect the monitor | □ Successfully □ not Successfully | Successfully | □ Qualified □ Unqualified |
| complete the connection under 2min | Completion time s | Under 2 min | □ Qualified □ Unqualified |

      - 5.2.3 Positioning clinical probe at measuring site

10 trained people position the temperature probe at measuring site. The recorder records the result.

|  | Test Result | Criteria | Conclusion |
| --- | --- | --- | --- |
| 型号1 |  |  |  |
| position the temperature probe | □ Successfully □ not Successfully | Successfully | □ Qualified □ Unqualified |
| complete the position under 5min | Completion time s | Under 5min | □ Qualified □ Unqualified |
| drops off less than 3 times in 8 hours | Drop off times | Less than 3 times | □ Qualified □ Unqualified |
| 型号2 |  |  |  |
| position the temperature probe | □ Successfully □ not Successfully | Successfully | □ Qualified □ Unqualified |
| complete the position under 5min | Completion time s | Under 5min | □ Qualified □ Unqualified |
| drops off less than 3 times in 8 hours | Drop off times | Less than 3 times | □ Qualified □ Unqualified |
| 型号2 |  |  |  |
| position the temperature probe | □ Successfully □ not Successfully | Successfully | □ Qualified □ Unqualified |
| complete the position under 5min | Completion time s | Under 5min | □ Qualified □ Unqualified |
| drops off less than 3 times in 8 hours | Drop off times | Less than 3 times | □ Qualified □ Unqualified |

      - 5.2.4 Monitoring

10 trained people monitor the temperature parameter continuously. The recorder records the result as below.

|  | Test Result | Criteria | Conclusion |
| --- | --- | --- | --- |
| monitor the temperature parameter continuously | □ Can monitor continuously □ Can not monitor continuously | Can monitor continuously | □ Qualified □ Unqualified |
| show anomalies in 8 hour continuous monitoring. | □ show anomalies □ do not show anomalies | do not show anomalies | □ Qualified □ Unqualified |
| Anomalies situation: |  |  |  |

      - 5.2.5 Disconnection

10 trained people disconnect the temperature probe. The recorder records the result as below.

|  | Test Result | Criteria | Conclusion |
| --- | --- | --- | --- |
| disconnect the temperature probe | □ Successfully □ not Successfully | Successfully | □ Qualified □ Unqualified |

Test result analysis

The specific testing result can refer to Study report on usability of anaesthesia machine of 20 people’s recorder.

Reading Instructions for use

| SQ | Understand | Operate the device |
| --- | --- | --- |
| 1 | Qualified | Qualified |
| 2 | Qualified | Qualified |
| 3 | Qualified | Qualified |
| 4 | Qualified | Qualified |
| 5 | Qualified | Qualified |
| 6 | Qualified | Qualified |
| 7 | Qualified | Qualified |
| 8 | Qualified | Qualified |
| 9 | Qualified | Qualified |
| 10 | Qualified | Qualified |
| Successful rate | 100% | 100% |

      - 6.2 Connect the monitor

| SQ | connect the monitor | complete the connection under 2min |
| --- | --- | --- |
| 1 | Qualified | Qualified |
| 2 | Qualified | Qualified |
| 3 | Qualified | Qualified |
| 4 | Qualified | Qualified |
| 5 | Qualified | Qualified |
| 6 | Qualified | Qualified |
| 7 | Qualified | Qualified |
| 8 | Qualified | Qualified |
| 9 | Qualified | Qualified |
| 10 | Qualified | Qualified |
| Successful rate | 100% | 100% |

  - 6.3 Positioning clinical probe at measuring site

J69T0022

| SQ | position the temperature probe | complete the position under 5min | drops off less than 3 times in 8 hours |
| --- | --- | --- | --- |
| 1 | Qualified | Qualified | Qualified |
| 2 | Qualified | Qualified | Qualified |
| 3 | Qualified | Qualified | Qualified |
| 4 | Qualified | Qualified | Qualified |
| 5 | Qualified | Qualified | Qualified |
| 6 | Qualified | Qualified | Qualified |
| 7 | Qualified | Qualified | Qualified |
| 8 | Qualified | Qualified | Qualified |
| 9 | Qualified | Qualified | Qualified |
| 10 | Qualified | Qualified | Qualified |
| Successful rate | 100% | 100% | 100% |

J52T0092

| SQ | position the temperature probe | complete the position under 5min | drops off less than 3 times in 8 hours |
| --- | --- | --- | --- |
| 1 | Qualified | Qualified | Qualified |
| 2 | Qualified | Qualified | Qualified |
| 3 | Qualified | Qualified | Qualified |
| 4 | Qualified | Qualified | Qualified |
| 5 | Qualified | Qualified | Qualified |
| 6 | Qualified | Qualified | Qualified |
| 7 | Qualified | Qualified | Qualified |
| 8 | Qualified | Qualified | Qualified |
| 9 | Qualified | Qualified | Qualified |
| 10 | Qualified | Qualified | Qualified |
| Successful rate | 100% | 100% | 100% |

J3CT0011

| SQ | position the temperature probe | complete the position under 5min | drops off less than 3 times in 8 hours |
| --- | --- | --- | --- |
| 1 | Qualified | Qualified | Qualified |
| 2 | Qualified | Qualified | Qualified |
| 3 | Qualified | Qualified | Qualified |
| 4 | Qualified | Qualified | Qualified |
| 5 | Qualified | Qualified | Qualified |
| 6 | Qualified | Qualified | Qualified |
| 7 | Qualified | Qualified | Qualified |
| 8 | Qualified | Qualified | Qualified |
| 9 | Qualified | Qualified | Qualified |
| 10 | Qualified | Qualified | Qualified |
| Successful rate | 100% | 100% | 100% |

  - 6.4 Monitoring

| SQ | monitor the temperature parameter continuously | show anomalies in 8 hour continuous monitoring |
| --- | --- | --- |
| 1 | Qualified | Qualified |
| 2 | Qualified | Qualified |
| 3 | Qualified | Qualified |
| 4 | Qualified | Qualified |
| 5 | Qualified | Qualified |
| 6 | Qualified | Qualified |
| 7 | Qualified | Qualified |
| 8 | Qualified | Qualified |
| 9 | Qualified | Qualified |
| 10 | Qualified | Qualified |
| Successful rate | 100% | 100% |

      - 6.5 Disconnection

| SQ | disconnect the temperature probe |
| --- | --- |
| 1 | Qualified |
| 2 | Qualified |
| 3 | Qualified |
| 4 | Qualified |
| 5 | Qualified |
| 6 | Qualified |
| 7 | Qualified |
| 8 | Qualified |
| 9 | Qualified |
| 10 | Qualified |
| Successful rate | 100% |

Conclusion

Every Task meets the User interface requirements.

| Task | Task Analysis | USER INTERFACE REQUIREMENTS | Result | Conclusion |
| --- | --- | --- | --- | --- |
| Task 1 | Reading Instructions for use | After reading the manual, 95% can understand it; 90% can operate | 100% | Pass |
| Task 2 | Connect the monitor | 100% can connect the monitor successfully | 100% | Pass |
|  |  | 95% can complete the connection under 2min | 100% |  |
| Task 3 | Positioning clinical probe at measuring site | 100% can position the temperature probe successfully | 100% | Pass |
|  |  | 95% can complete the position under 5min | 100% |  |
|  |  | 95% drops off less than 3 times in 8 hours. | 100% |  |
| Task 4 | Monitoring | 100% can monitor the temperature parameter continuously | 100% | Pass |
|  |  | 5% show anomalies in 8 hour continuous monitoring. | 100% |  |
| Task 5 | Disconnection | After power off, 95% disconnect the temperature probe successfully | 100% | Pass |