2017/8/10 指南文件（医疗器械及放射类产品）> IDE进度报告的格式建议（纯文本）

IDE进度报告的格式建议（纯文本）
该指南是在1997年2月27日执行FDA良好指南实践（GGP）之前撰写的。它不会创建或赋予任何人任何权利，也不会对FDA或公众产生约束力。如果其他方法满足适用情况和/或法规的要求，则可以使用其他方法。本指南将在下一个版本中更新，以包含GGP的标准要素。
IDE进度报告的格式建议
1.
基本要素
○IDE编号
○器械名称和使用说明
○申办者的名称、地址、电话号码和传真
○联系人
2.
研究进展
（除非另有说明，否则应报告研究开始时的数据。）
○与研究计划有关的研究进展小结
○研究人员/研究地点的数量（附上研究人员名单）
○招募受试者的数量（按适应症或型号分类）
○装船器械的数量
○研究结果的小结
○预期和无法预期的不利影响的摘要
○研究人员偏离（任何）研究计划的描述（自上次进展报告以来）
3.
风险分析
○可能影响风险分析的任何新的不利影响（自上次进展报告以来）的摘要，包括临床前数据、动物研究、外国数据和临床研究等。
○重新打印包含本研究收集数据的所有文章
○如有必要，根据新的信息和研究进展进行新的风险分析
4.
其他变更
○生产实践和质量控制中任何变更的摘要（包括补充申请中未报告的变更）
○研究计划中所有变更的摘要（无需在补充申请中提交的）
5.
未来的计划
○产品批准进展，预计提交PMA或（k）的日期
○研究计划的任何变更，例如扩大研究规模或适应症，停止部分研究或生产实践的变更（注：应在一个单独的补充申请中提出这些变更的实际建议）。
	更多指南文件（医疗器械和辐射发射产品）
 (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/default.htm)

	跨中心最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm081752.htm)

	合规办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070269.htm)

	中心主任办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm110228.htm)

	交流和教育办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070271.htm)

	器械评估办公室最终指南2010 - 2016 (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm198577.htm)

	器械评估办公室最终指南1998 - 2009 (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070272.htm)

	器械评估办公室最终指南1976 - 1997 (/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm080283.htm)

	体外诊断和放射健康办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070274.htm)


	监督和生物计量办公室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070275.htm)

	科学与工程实验室最终指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm070277.htm)

	指南草案(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm407274.htm)

	辐射发射产品指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm283507.htm)

	撤回指南(/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm425025.htm)


[image: image1.png]MLARS HONGMEDCOM  EMSIPE  ERSIGG  MDCPPCOM
R nn REER RUEITE  ERRSURE

BESY AN
WECHATOF  HLONGMED TRAINING CAREER  KNOWLEDGE
HLONGMED WEBSITE CENTER TRAINING WEBSITE

RRETARSEE

HFRIHT20REE, NRAMREISE. FERATEENE. M)
ARFEWHRR WS HaF201146807,
SRR EREMA T, IRFRKCRO/SMOATHBSIERIE
TS BT S TR R R 2R CDMOIRSS .
=
hiE| B ERRIGFR3ECRO/SMORRSS: 2FK100SEE AR RIRSS
SHRSERAREMARIZARS: SHeNBRERSRRTRE VAR
BT AR PR S IRRSS: 1T ALAREENTD AR\ IBIRRAZIIRSS
EEB: A

537 SIS
RYIBREEMREERAR;  RIREETRNSTERAR;
RS EERAR; R E S HER S AGRAR;
EERECSRRSERAR; RELHETBNRERASERRAS .

MR B S KD, EE. ERS.

£E. BRZ, BE. BARE. &8, @&, . . S,
PR RERMUEEIER, BATRERREUSIERET. B8
ST, BRERE,

SN




https://www.fda.gov/MedicalDevices/DeviceRegulationandGuidance/GuidanceDocuments/ucm080261.htm
3/3

