医械企业一站式知识平台！                     
Error! Unknown document property name.（Error! Unknown document property name.）

	Compliance Report

	EN 62304:2006+A1:2015

Medical devices software – Software life – cycle processes



	Report Reference No.
:
	{填写报告编号}

	Compiled by (+ signature)
:
	{报告编写人员签字}
	

	Approved by (+ signature)
:
	{报告批准人员签字}
	

	Date of issue
:
	

	

	Tester:
:
	{测试人员}

	Address
:
	{测试地址}


	Test specification:
	

	Standard
:
	EN 62304:2006+A1:2015

	

	Test item description
:
	

	Trade Mark
:
	{商标}

	Manufacturer
:
	{生产商}

	Model/Type reference
:
	{产品型号}

	
	

	Possible test case verdicts:
	

	- test case does not apply to the test object
:
	N/A

	- test object does meet the requirement
:
	Pass (P)

	- test object does not meet the requirement
:
	Fail (F)


Summary of Evaluation

The purpose of this report is to document the results of testing performed in accordance with EN 62304:2006+A1:2015 “Medical devices software – Software life – cycle processes”.

	Conclusion

	Conform to the requirement of EN 62304:2006+A1:2015

	Fail item

	

	Remark

	


The justification of safety classification

According to EN 62304:2006+A1:2015, The software’s safety classification is Class {填写软件分类}（参考示例：Class C : Death or SERIOUS INJURY is possible.） The justification is as follows:

2.1 The justification for Decision 

 {填写软件分类的判定理由}
2.2 The table of determining level of Concern

 {填写软件分类的判定理由}
（以下为参考示例）
According to FDA software guidance<Guidance for the Content of Premarket Submissions for Software Contained in Medical Devices>, The level of concern for Syringe pump software may be determined by sequentially answering the following key questions, prior to mitigation. (Refer to Table 1). If the answer to any question is No, continue on to the next question.

Table 1 Determining Level of Concern

	Level of Concern
	No.
	Key Question
	YES
	NO

	Major
	1.1
	Does the Software Device qualify as Blood Establishment Computer Software?
	
	√

	
	1.2
	Is the Software Device intended to be used in combination with a drug or biologic?
	
	√

	
	1.3
	Is the Software Device an accessory to a medical device that has a Major Level of Concern?
	
	√

	
	1.4
	Prior to mitigation of hazards, could a failure of the Software Device result in death or serious injury, either to a patient or to a user of the device? 
	√
	

	
	1.4a
	Does the Software Device control a life supporting or life sustaining function?
	
	√

	
	1.4b
	Does the Software Device control the delivery of potentially harmful energy that could result in death or serious injury, such as radiation treatment systems, defibrillators, and ablation generators?
	
	√

	
	1.4c
	Does the Software Device control the delivery of treatment or therapy such that an error or malfunction could result in death or serious injury?
	√
	

	
	1.4d
	Does the Software Device provide diagnostic information that directly drives a decision regarding treatment or therapy, such that if misapplied it could result in serious injury or death?
	
	√

	
	1.4e
	Does the Software Device provide vital signs monitoring and alarms for potentially life threatening situations in which medical intervention is necessary?
	
	√

	Moderate
	2.1
	Is the Software Device an accessory to a medical device that has a Moderate Level of Concern?
	
	√

	
	2.2
	Prior to mitigation of hazards, could a failure of the Software Device result in Minor Injury, either to a patient or to a user of the device?
	
	√

	
	2.3
	Could a malfunction of, or a latent design flaw in, the Software Device lead to an erroneous diagnosis or a delay in delivery of appropriate medical care that would likely lead to Minor Injury?
	
	√


If the answer to any one question in 1.1~1.4 is Yes, the Level of Concern for the Software Device is likely to be Major. If the answer to any one question in 2.1~2.3 is Yes, the Level of Concern for the Software Device is likely to be Moderate. If the answers to all of the questions in Tables 1 above are No, the Level of Concern is Minor. 

The answer of 1.4 for this software is Yes, so the level of concern for the software is major, which is equivalent to Class C (Death or SERIOUS INJURY is possible) determined by EN 62304:2006/AC: 2008 initially be assigned based on severity. 

So the safety classification of the software is Class C.

Verification index

	EN 62304:2006/AC:2008 Summary of requirements by software safety class

	Clauses and subclauses
	Class A 
	 Class B 
	Class C

	Clause 4 All requirements
	X
	X
	X

	5.1   5.1.1、5.1.2、5.1.3、5.1.6、5.1.7、5.1.8、5.1.9
	X
	X
	X

	        5.1.5、5.1.10、5.1.11
	
	X
	X

	        5.1.4
	
	
	X

	5.2   5.2.1、5.2.2、5.2.4、5.2.5、5.2.6
	X
	X
	X

	        5.2.3
	
	X
	X

	5.3   5.3.1、5.3.2、5.3.3、5.3.4、5.3.6
	
	X
	X

	        5.3.5
	
	
	X

	5.4   5.4.1
	
	X
	X

	        5.4.2、5.4.3、5.4.4
	
	
	X

	5.5   5.5.1
	X
	X
	X

	        5.5.2、5.5.3、5.5.5
	
	X
	X

	        5.5.4
	
	
	X

	5.6   All requirements
	
	X
	X

	5.7   All requirements
	
	X
	X

	5.8   5.8.4
	X
	X
	X

	        5.8.1、5.8.2、5.8.3、5.8.5、5.8.6、5.8.7、5.8.8
	
	X
	X

	6.1   6.1     
	X
	X
	X

	6.2   6.2.1、6.2.2、6.2.4、6.2.5
	X
	X
	X

	        6.2.3
	
	X
	X

	6.3   All requirements
	X
	X
	X

	7.1   All requirements
	
	X
	X

	7.2   All requirements
	
	X
	X

	7.3   All requirements
	
	X
	X

	7.4   7.4.1
	X
	X
	X

	        7.4.2、7.4.3
	
	X
	X

	Clause 8    All requirements
	X
	X
	X

	Clause 9     All requirements
	X
	X
	X


Verification index

Table 1 Verification Index

	Clause
	Requirement + Test
	Result - Remark

{本列填写对第二列符合的结果及证据}
【请先判断第二列的条款是否适用于本产品，如适用，请列出符合该条款的证据以及证据来源(如文件编号)，相关的证据可以是：体系相关文件、测试报告、说明书及标签、产品设计等相关描述信息、临床报告及文献, 上市信息等等】


	P/F/NA

	4
	General Requirements
	/
	/

	4.1
	Quality management SYSTEM 
	/
	/

	
	The MANUFACTURER of MDEDICAL DEVICE SOFTWARE shall demonstrate the ability to provide MDEDICAL DEVICE SOFTWARE that consistently meets customer requirements and applicable regulatory requirements.
	(以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

ISO 13485 quality management system

Software Verification and Validation File
	P

	4.2
	Risk Management 
	/
	/

	
	The MANUFACTURER shall apply a RISK MANAGEMENT PROCESS complying with ISO 14971.
	(以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)
Risk Management File (<Risk Management Plan>, <Risk Analysis Report>, <Risk Management Report> 

<Product Software Management Specification>
	P

	4.3
	Software safety classification 
	/
	/

	
	a) The MANUFACTURER shall assign to each SOFTWARE SYSTEM a software safety class (A, B, or C) according to the possible effects on the patient, operator, or other people resulting from a hazard to which the SOFTWARE SYSTEM can contribute.

The software safety classes shall initially be assigned based on severity as follows:

Class A: No injury or damage to health is possible

Class B: Non-serious injury is possible

Class C:Death or serious injury is possible

If the HAZARD could arise from a failure of the SOFTWARE SYSTEM to behave as specified, the probability of such failure shall be assumed to be 100 percent.

If the RISK of death or SERIOUS INJURY arising from a software failure is subsequently reduced to an acceptable level (as defined by ISO 14971) by a hardware RISK CONTROL measure, either by reducing the consequences of the failure or by reducing the probability of death or SERIOUS INJURY arising from that failure, the software safety classification may be reduced from C to B; and if the RISK of non-SERIOUS INJURY arising from a software failure is similarly reduced to an acceptable level by a hardware RISK CONTROL measure, the software safety classification may be reduced from B to A. 
	(以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)
<Risk Analysis Report>

<Software Development Plan>

<Risk Management Report>
<software architecture design document >

	P

	
	b) The MANUFACTURER shall assign to each SOFTWARE SYSTEM that contributes to the implementation of a RISK CONTROL measure a software safety class based on the possible effects of the hazard that the RISK CONTROL measure is controlling.
	(以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)
 <Risk Analysis Report>、<Software Development Plan>
	P

	
	c) The MANUFACTURER shall document the software safety class assigned to each SOFTWARE SYSTEM in the RISK MANAGEMENT FILE.
	(以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)
 <Risk Analysis Report>


	P

	
	d) When a SOFTWARE SYSTEM is decomposed into SOFTWARE ITEMS, and when a SOFTWARE ITEM is decomposed into further SOFTWARE ITEMS, such SOFTWARE ITEMS shall inherit the software safety classification of the original SOFTWARE ITEM (or SOFTWARE SYSTEM) unless the MANUFACTURER documents a rationale for classification into a different software safety class. Such a rationale shall explain how the new SOFTWARE ITEMS are segregated so that they may be classified separately.
	(以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)
Software System and Items are all of Class **

	P

	
	e) The MANUFACTURER shall document the software safety class of each SOFTWARE ITEM if that class is different from the class of the SOFTWARE ITEM from which it was created by decomposition.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)
Software System and Items are all of Class **

	P

	
	f) For compliance with this standard, wherever a process is required for SOFTWARE ITEM of a specific classification and the process is necessarily applied to a group of SOFTWARE ITEMS, the MANUFACTURER shall use the processes and TASKS which are required by the classification of the highest-classified SOFTWARE ITEM in the group unless the MANUFACTURER documents in the RISK MANAGEMENT FILE a rationale for using a lower classification.
	A以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)
Software System and Items are all of Class **

	P

	
	g) For each SOFTWARE SYSTEM, until a software safety class is assigned, Class C requirements shall apply.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)
Software System and Items are all of Class **

	P

	5
	Software development process
	/
	/

	5.1
	Software development planning
	/
	/

	5.1.1
	Software development plan
	/
	/

	
	The MANUFACTURER shall establish a software development plan (or plans) for conducting the ACTIVITIES of the software development PROCESS appropriate to the scope, magnitude, and software safety classifications of the SOFTWARE SYSTEM to be developed. The SOFTWARE DEVELOPMENT LIFE CYCLE MODEL shall either be fully defined or be referenced in the plan (or plans). The plan shall address the following:

the PROCESSES to be used in the development of the SOFTWARE SYSTEM (see Note 4)
	 以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

 R&D product develop documents
	P

	
	the DELIVERABLES (include documents) of the ACTIVITIES and TASKS;
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

 R&D product develop documents
	P

	
	TRACEABILITY between SYSTEM requirements, software requirements, SOFTWARE SYSTEM test, and RISK CONTROL measures implemented in software.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

 R&D product develop documents
	P

	
	Software configuration and change management, including SOUP CONFIGURATION ITEMS and software used to support development.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

 R&D product develop documents
	P

	
	Software problem resolution for handling problems detected in the SOFTWARE PRODUCTS, DELIVERABLES and ACTIVITIES at each stage of the life cycle.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

 R&D product develop documents
	P

	5.1.2
	Keep software development plan updated

The MANUFACTURER shall update the plan as development proceeds as appropriate.[Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

<Product Software Management Specification>
	P

	5.1.3
	Software development plan reference to SYSTEM design and development.
	/
	/

	
	As inputs for software development SYSTEM requirements shall be referenced in the software development plan by the MANUFACTURER.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>
	P

	
	The MANUFACTURER shall include or reference in the software development plan procedures for coordinating the software development and the design and development validation necessary to satisfy 4.1
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

<Product Software Management Specification>
	P

	5.1.4
	Software development standards, methods and tools planning

The MANUFACTURER shall include or reference in the software development plan 

standards,

b) methods, and 
c) tools

associated with the development of SOFTWARE ITEMS of class C.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

<Product Software Management Specification>
	P

	5.1.5
	Software integration and integration testing planning 

The MANUFACTURER shall include or reference in the software development plan, a plan to integrate the SOFTWARE ITEMS(including SOUP) and perform testing during integration.[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

<Product Software Management Specification>
	P

	5.1.6
	Software VERIFICATION planning

The MANUFACTURER shall include or reference in the software development plan the following VERIFICATION information:

a)DELIVERABLES requiring VERIFICATION;
b)The required VERIFICATION TASKS for each life cycle ACTIVITY
c)Milestones at which the DELIVERABLES are VERIFIED; and
d)The acceptance criteria for VERIFICATION of the DELIVERABLES
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

<Product Software Management Specification>
	P

	5.1.7
	Software risk management planning

The MANUFACTURER shall include or reference in the software development plan, a plan to conduct the ACTIVITIES and TASKS of the software risk management process, including the management of RISKS relating to SOUP. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

<Product Software Management Specification>

Risk Management File
	P

	5.1.8
	Documentation planning 

The MANUFACTURER shall include or reference in the software development plan information about the documents to be produced during the software development life cycle. For each identified document or type of document the following information shall be included or referenced:
a)Title, name or naming convention
b)Purpose
c)Intended audience of document;
d)Procedures and responsibilities for development, review, approval and modification
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

<Product Software Management Specification>
	P

	5.1.9
	Software configuration management planning

The MANUFACTURER shall include or reference software configuration management information in the software development plan. The software configuration management information shall include or reference:

a)The classes, types, categories or lists of ITEMS to be controlled;
b)The software configuration management ACTIVITIES and TASKS;
c)the organization(s) responsible for performing software configuration management and ACTIVITIES;
d)Their relationship with other organizations, such as software development or maintenance;
e)When the ITEMS are to be placed under configuration control;
f)When the problem resolution PROCESS is to be used

[Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

<Product Software Management Specification>

<Software Configuration Management Plan>
	P

	5.1.10
	Supporting ITEMS to be controlled

The ITEMS to be controlled shall include tools, ITEMS or settings, used to develop the MDEDICAL DEVICE SOFTWARE, which could impact the MDEDICAL DEVICE SOFTWARE.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

<Software Configuration Management Plan>
	P

	5.1.11
	Software CONFIGURATION ITEM control before VERIFICATION.

The MANUFACTURER shall plan to place configuration ITEMS under documented configuration management control before they are VERIFIED.[Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Development Plan>

<Software Configuration Management Plan>
	P

	5.2
	Software requirements analysis
	/
	/

	5.2.1
	Define and document software requirements from SYSTEM requirements 

For each SOFTWARE SYSTEM of the MDEDICAL DEVICE, the MANUFACTURER shall define and document SOFTWARE SYSTEM requirements from the SYSTEM level requirements. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Requirements Specification>
	P

	5.2.2
	Software requirements content.

As appropriate to the MDEDICAL DEVICE SOFTWARE, the MANUFACTURER shall include in the software requirements

Functional and capability requirements;

SOFTWARE SYSTEM inputs and outputs;

Interfaces between the SOFTWARE SYSTEM and other SYSTEMS;

Software-driven alarms, warnings, and operator messages;

Security requirements;

Usability engineering requirements that are sensitive to human errors and training;

Data definition and database requirements

Installation and acceptance requirements of the delivered MDEDICAL DEVICE SOFTW ARE at the operation and maintenance site or sites;

Requirements related to methods of operation and maintenance

User documentation to be developed;

User maintenance requirements;

Regulatory requirements.

 [Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Requirements Specification>
	P

	5.2.3
	Include RISK CONTROL measures in software requirements

The MANUFACTURER shall include RISK CONTROL measures implemented in software for hardware failures and potential software defects in the requirements as appropriate to the MDEDICAL DEVICE SOFTWARE. [Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Requirements Specification>
	P

	5.2.4
	Re-evaluate medical evaluate MEDICAL DEVICE risk analysis

The MANUFACTURER shall re-evaluate the MEDICAL DEVICE RISK ANALYSIS when software requirements are established and update it as appropriate.

 [Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Requirements Specification>

<Product Software Management Specification>
	P

	5.2.5
	Update SYSTEM requirements

The MANUFACTURER shall ensure that existing requirements, including SYSTEM requirements, are re-EVALUATED and updated as appropriate as a result of the software requirements analysis ACTIVITY.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	5.2.6
	Verify software requirements

The MANUFACTURER shall verify and document that the software requirements:

implement SYSTEM requirements including those relating to RISK CONTROL;

do not contradict one another; 
are expressed in terms that avoid ambiguity;

are stated in terms that permit establishment of test criteria and performance of tests to determine whether the test criteria have been met

can be uniquely identified; and

are traceable to SYSTEM requirements or other source.

 [Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Requirements Specification>

<Software Evaluation Plan>
	P

	5.3
	Software ARCHITECTURAL design
	/
	/

	5.3.1
	Transform software requirements into an ARCHITECTURE

The MANUFACTURER shall transform the requirements for the MDEDICAL DEVICE SOFTWARE into a documented ARCHITECTURE that describes the software’s structure and identifies the SOFTWARE ITEMS.
[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Architecture Design>
	P

	5.3.2
	Develop an ARCHITECTURE for the interfaces of SOFTWARE ITEMS

The MANUFACTURER shall develop and document an ARCHITECTURE for the interfaces between the SOFTWARE ITEMS and the components external to the SOFTWARE ITEMS (both software and hardware), and between the SOFTWARE ITEMS.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Architecture Design>
	P

	5.3.3
	Specify functional and performance requirements of SOUP item

If a SOFTWARE ITEM is identified as SOUP, the MANUFACTURER shall specify functional and performance requirements for the SOUP item that are necessary for its intended use.

[ClassB, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Architecture Design>
	N/A

	5.3.4
	Specify SYSTEM hardware and software required by SOUP item

a SOFTWARE ITEM is identified as SOUP, the MANUFACTURER shall specify the SYSTEM hardware and software necessary to support the proper operation of the SOUP item.

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Architecture Design>

<Software Configuration Management Plan>
	N/A

	5.3.5
	Identify segregation necessary for RISK CONTROL

The MANUFACTURER shall identify the segregation between SOFTWARE ITEMS that is essential to RISK CONTROL, and state how to ensure that the segregation is effective.

[Class C]
	--
	P

	5.3.6
	Verify software ARCHITECTURE

The MANUFACTURER shall verify and document that:
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Architecture Design>
	P

	
	the ARCHITECTURE of the software implements SYSTEM and software requirements including those relating to RISK CONTROL.
	
	P

	
	the software ARCHITECTURE is able to support interfaces between SOFTWARE ITEMS and between SOFTWARE ITEMS and hardware; and
	
	P

	
	the MDEDICAL DEVICE ARCHITECTURE supports proper operation of any SOUP items.

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Architecture Design Report>
	N/A

	5.4
	Software detailed design
	/
	/

	5.4.1
	Refine software ARCHITECTURE into SOFTWARE UNITSS

The MANUFACTURER shall refine the software ARCHITECTURE until it is represented by SOFTWARE UNITSS.
[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Detailed Design Report>
	P

	5.4.2
	Develop detailed design for each SOFTWARE UNITS

The MANUFACTURER shall develop and document a detailed design for each SOFTWARE UNIT of the SOFTWARE ITEM.

[Class C]
	---
	P

	5.4.3
	Develop detailed design for interfaces

The MANUFACTURER shall develop and document a detailed design for any interfaces between the SOFTWARE UNITS and external components (hardware or software), as well as any interfaces between SOFTWARE UNITSs.

 [Class C]
	---
	P

	5.4.4
	Verify detailed design 
	/
	/

	
	The MANUFACTURER shall verify and document that the software detailed design:

a) implements the software ARCHITECTURE;

b)is free from contradiction with the software ARCHITECTURE. [Class C]
	---
	P

	5.5
	SOFTWARE UNITS implementation and verification
	
	/

	5.5.1
	Implement each SOFTWARE UNIT

The MANUFACTURER shall implement each SOFTWARE UNIT.

[Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Unit Verification Report >
	P

	5.5.2
	Establish SOFTWARE UNITS VERIFICATION PROCESS

The MANUFACTURER shall establish strategies, methods and procedures for verifying each SOFTWARE UNITS. W here VERIFICATION is done by testing; the test procedures shall be EVALUATED for correctness.

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Unit Verification Report >
	P

	5.5.3
	SOFTWARE UNIT acceptance criteria 

The MANUFACTURER shall establish acceptance criteria for SOFTWARE UNITSs prior to integration into larger SOFTWARE ITEMS as appropriate, and ensure that SOFTWARE UNITS s meet acceptance criteria.

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Unit Verification Report >
	P

	5.5.4
	Additional SOFTWARE UNITS acceptance criteria

When present in the design, the MANUFACTURER shall include additional acceptance criteria as appropriate for:

proper event sequence;

data and control flow;

planned resource allocation;

fault handling (error definition, isolation, and recovery);

initialisation of variables;

self-diagnostics;

memory management and memory overflows;

boundary conditions.

[Class C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Unit Verification Report >
	P

	5.5.5
	SOFTWARE UNITS VERIFICATION 

The MANUFACTURER shall perform the SOFTWARE UNITS VERIFICATION and document the results. [Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Unit Verification Report >
	P

	5.6
	Software integration and integration testing 
	/
	/

	5.6.1
	Integrate SOFTWARE UNITS 

The MANUFACTURER shall integrate the SOFTWARE UNITS in accordance with the integration plan. 

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Integration Test Report>
	P

	5.6.2
	Verify software integration

 The MANUFACTURER shall verify and record the following aspects of the software integration in accordance with the integration plan(see 5.1.5) 
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Integration Test Report>
	P

	
	the SOFTWARE UNITSs have been integrated into SOFTWARE ITEMS and the SOFTWARE SYSTEM.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Integration Test Report>
	P

	
	the hardware ITEMS, SOFTWARE ITEMS, and support for manual operations( e.g., human equipment interface, on-line help menus, speech recognition, voice control) of the SYSTEM have been integrated into the SYSTEM.

 [Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Integration Test Report>
	P

	5.6.3
	Test integrated software

The MANUFACTURER shall test the integrated SOFTWARE ITEMS in accordance with the integration plan (see 5.1.5) and document the results

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Integration Test Report>
	P

	5.6.4
	Integration testing content 

For software integration testing, the MANUFACTURER shall address whether the integrated SOFTWARE ITEMS performs as intended

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Integration Test Report>
	P

	5.6.5
	Verify integration test procedures 

The MANUFACTURER shall evaluate the integration test procedures for correctness.[Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Integration Test Report>
	P

	5.6.6
	Conduct regression tests 

When SOFTWARE ITEMS are integrated, the MANUFACTURER shall conduct regression testing appropriate to demonstrate that defects have not been introduced into previously integrated software.

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Integration Test Report>
	P

	5.6.7
	Integration test record contents 
	/
	/

	
	The MANUFACTURER shall:

a)document the test result (pass/fail and a list of ANOMALIES);

b)retain sufficient records to permit the test to be repeated;

c)identify the tester.

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Integration Test Report>
	P

	5.6.8
	Use software problem resolution PROCESS 

The MANUFACTURER shall enter ANOMALIES found during software integration and integration testing into a software problem resolution process. [Class B,C] 
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Integration Test Report><Product Software Management Specification>
	P

	5.7
	SOFTWARE SYSTEM testing 
	/
	/

	5.7.1
	Establish tests for software requirements 

The MANUFACTURER shall establish and perform a set of tests, expressed as input stimuli, expected outcomes, pass/fail criteria and procedures, for conducting SOFTWARE SYSTEM testing, such that all software requirements are covered. 

[Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software System Test Report>
	P

	5.7.2
	Use software problem resolution PROCESS 

The MANUFACTURER shall enter ANOMALIES found during SOFTWARE SYSTEM testing into a software problem resolution process. [Class A, B,C] 
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software System Test Report>
	P

	5.7.3
	Retest after changes

When changes are made during SOFTWARE SYSTEM testing, the MANUFACTURER shall: 

repeat tests, perform modified tests or perform additional tests, as appropriate, to verify the effectiveness of the change in correcting the problem;

conduct testing appropriate to demonstrate that unintended side effects have not been introduced; and

c)perform relevant RISK MANAGEMENT ACTIVITIES as defined in 7.4.

[Class A, B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software System Test Report>

<Product Software Management Specification>
	P

	5.7.4
	Verify SOFTWARE SYSTEM testing 

the MANUFACTURER shall verify that:

the VERIFICATION strategies and the test procedures used are appropriate;

SOFTWARE SYSTEM test procedures trace to software requirements;

all software requirements have been tested or otherwise verified;

[Class B, C]
d) test results meet the required pass/fail criteria.

[Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software System Test Report>
	P

	5.7.5
	SOFTWARE SYSTEM test record contents
The MANUFACTURER shall:

document the test result (pass/fail and a list of ANOMALIES);

retain sufficient records to permit the test to be repeated;

identify the tester.
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software System Test Report>
	P

	5.8
	Software release
	/
	/

	5.8.1
	Ensure software VERIFICATION is complete 

The MANUFACTURER shall ensure that software VERIFICATION has been completed and the results evaluated before the software is released. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Release Report>
	P

	5.8.2
	Document known residual ANOMALIES 

The MANUFACTURER shall document all known residual ANOMALIES. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Release Report>
	P

	5.8.3
	Evaluate known residual ANOMALIES

The MANUFACTURER shall ensure that all known residual ANOMALIES have been EVALUATED to ensure that they do not contribute to an unacceptable RISK. [Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Release Report>
	P

	5.8.4
	Document released VERSIONS 

The MANUFACTURER shall document the version of the SOFTWARE PRODUCT that is being released. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Release Report>
	P

	5.8.5
	Document how released software was created

The MANUFACTURER shall document the procedure and environment used to create the released software[Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Release Report>
	P

	5.8.6
	Ensure activities and tasks are complete 

The MANUFACTURER shall ensure that all ACTIVITIES and TASKS are complete along with all the associated documentation. [Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Release Report>
	P

	5.8.7
	Archive software

The MANUFACTURER shall

archive: 

a)the software product and configuration ITEMS;

b)the documentation.

for at least a period of time determined as the longer of: the life time of the device as defined by the MANUFACTURER or a time specified by relevant regulatory requirements. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Release Report>
	P

	5.8.8
	Assure repeatability of software release 

The MANUFACTURER shall establish procedures to ensure that the released software product can be reliably delivered to the point of use without corruption or unauthorized change. These procedures shall address the production and handling of media containing the software product including as appropriate:

– replication,

– media labelling,

– packaging,

– protection,

– storage, and

– delivery.

[Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Release Report>
	P

	6
	Software maintenance PROCESS 
	/
	/

	6.1
	Establish software maintenance plan建立软件维护计划

The MANUFACTURER shall establish a software maintenance plan (or plans) for conducting the ACTIVITIES and TASKS of the maintenance PROCESS. The plan shall address the following:
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	
	a)procedures for:

– receiving,

– documenting,

– evaluating,

– resolving and

– tracking

feedback arising after release of the MDEDICAL DEVICE SOFTWARE.
	
	

	
	b)criteria for determining whether feedback is considered to be a problem;
	
	

	
	c)use of the software RISK MANAGEMENT PROCESS;
	
	

	
	d)use of the software problem resolution PROCESS for analysing and resolving problems arising after release of the MDEDICAL DEVICE SOFTWARE;
	
	

	
	e)use of the software configuration management PROCESS (Clause 8) for managing modifications to the existing SYSTEM; and
	
	

	
	f)procedures to EVALUATE and implement:

–upgrades;

-bug fixes;

–patches and;

–obsolescence 

of SOUP.

[Class B,C]
	
	N/A

	6.2
	Problem and modification analysis 
	/
	/

	6.2.1
	Document and EVALUATE feedback 
	/
	/

	6.2.1.1
	Monitor feedback 

The MANUFACTURER shall monitor feedback on released SOFTWARE PRODUCT from both inside its own organization and from users. [Class A, B,C] 
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	6.2.1.2
	Document and EVALUATE feedback 

Feedback shall be documented and evaluated to determine whether a problem exists in a released software product. Any such problem shall be recorded as a problem report (see Clause 9). Problem report shall include actual or potential adverse events, and deviations from specifications. [Class A, B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	6.2.1.3
	Evaluate PROBLEM REPORT’S affects on SAFETY 

Each PROBLEM REPORT shall be EVALUATED to determine how it affects the SAFETY of a released SOFTWARE PRODUCT and whether a change to the released SOFTWARE PRODUCT is needed to address the problem. [Class A, B,C] 
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	6.2.2
	Use software problem resolution PROCESS

The MANUFACTURER shall use the software problem resolution process (see Clause 9) to address PROBLEM REPORTS. [Class A, B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	6.2.3
	Analyse CHANGE REQUESTS 

In addition to the analysis required by Clause 9, the MANUFACTURER shall analyse each change Request for its effect on the organization, released SOFTWARE PRODUCTS, and SYSTEMs with which it interfaces. [Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	6.2.4
	CHANGE REQUEST approval
The MANUFACTURER shall evaluate and approve CHANGE REQUESTS which modify released SOFTWARE PRODUCTS. [Class A, B,C] 
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	6.2.5
	Communicate to users and regulators

The MANUFACTURER shall identify the approved CHANGE REQUESTS that affect released SOFTWARE PRODUCTS.

As required by local regulation, the MANUFACTUER shall inform users and regulators about:

any problem in released SOFTWARE PRODUCTS and the consequences of continued unchanged use; and 

the nature of any available changes to released SOFTWARE PRODUCTS and how to obtain and install the changes.

[Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	6.3
	Modification implementation 
	/
	/

	（6.3.1
	Use established PROCESS to implement modification 

The MANUFACTURER shall use the software development process (see Clause 5) or an established maintenance process to implement the modifications. [Class A, B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	6.3.2
	Re-release modified SOFTWARE SYSTEM 

The MANUFACTURER shall release modified SOFTWARE SYSTEM according to 5.8. Modifications may be released as part of a full re-release of a SOFTWARE SYSTEM or as a modification kit comprising changed SOFTWARE ITEMS and the necessary tools to install the changes as modifications to an existing SOFTWARE SYSTEM. [Class A, B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>
	P

	7
	Software risk management process 
	/
	/

	7.1
	Analysis of software contributing to hazardous situations 
	/
	/

	7.1.1
	Identify SOFTWARE ITEMS that could contribute to a hazardous situation 

The MANUFACTURER shall identify SOFTWARE ITEMS that could contribute to a hazardous situation identified in the MDEDICAL DEVICE risk analysis ACTIVITY of ISO 14971 (see 4.2). [Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	7.1.2
	Identify potential causes of contribution to a hazardous situation 

The MANUFACTURER shall identify potential causes of the SOFTWARE ITEM identified above contributing to a hazardous situation. 

The MANUFACTURER shall consider potential causes including, as appropriate:

a) incorrect or incomplete specification of functionality; 
b)software defects in the identified SOFTWARE ITEM functionality 

c)failure or unexpected results from SOUP; c) 
hardware failures or other software defects that could result in unpredictable software operation; 

e) reasonably foreseeable misuse.

[Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	7.1.3
	EVALUATE published SOUP ANOMALY lists 

If failure or unexpected results from SOUP is a potential cause of the SOFTWARE ITEM contributing to a hazardous situation, the MANUFACTURER shall evaluate as a minimum any anomaly list published by the supplier of the SOUP item relevant to the version of the SOUP. item used in the MDEDICAL DEVICE to determine if any of the known ANOMALIES result in a sequence of events that could result in a hazardous situation.

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	N/A

	7.1.4
	Document potential causes 

The MANUFACTURER shall document in the RISK MANAGEMENT FILE potential causes of the SOFTWARE ITEM contributing to a hazardous situation (see ISO 14971). [Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	7.1.5
	Document sequences of events

The MANUFACTURER shall document in the RISK MANAGEMENT FILE sequences of events that could result in a hazardous situation that are identified in 7.1.2. [Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	7.2
	RISK CONTROL measures.
	/
	/

	7.2.1
	Defined RISK CONTROL measures

For each potential cause of the SOFTWARE ITEM contributing to a hazardous situation documented in the RISK MANAGEMENT FILE, the MANUFACTURER shall define and document risk control measures. [Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	7.2.2
	RISK CONTROL measures implemented in software 

If a RISK CONTROL measure is implemented as part of the functions of a SOFTWARE ITEM, the MANUFACTURER shall:

include the RISK CONTROL measure in the software requirements;

assign a software safety class to the SOFTWARE ITEM based on the possible effects of the HAZARD that the RISK CONTROL measure is controlling; and

c) develop the SOFTWARE ITEM in accordance with Clause 5.

[Class B,C] 
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	7.3
	VERIFICATION of RISK CONTROL measures 
	/
	/

	7.3.1
	Verify RISK CONTROL measures 

The implementation of each RISK CONTROL measure documented in 7.2 shall be verified, and this VERIFICATION shall be documented. [Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	7.3.2
	Document any new sequences of events

 If a RISK CONTROL measure is implemented as a SOFTWARE ITEM, the MANUFACTURER shall evaluate the RISK CONTROL measure to identify and document in the RISK MANAGEMENT FILE any new sequences of events that could result in a hazardous situation.

[Class B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	7.3.3
	Document TRACEABILITY 

The MANUFACTURER shall document traceability of software hazards as appropriate:

from the hazardous situation to the SOFTWARE ITEM;

from the SOFTWARE ITEM to the specific software cause;

from the software cause to the RISK CONTROL measure;

d)from the RISK CONTROL measure to the VERIFICATION of the RISK CONTROL measure.

[Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	7.4
	Risk management of software changes 
	/
	/

	7.4.1
	Analyse changes to MDEDICAL DEVICE SOFTWARE with respect to safety 


	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	
	The MANUFACTURER shall analyse changes to the MDEDICAL DEVICE SOFTWARE (including SOUP) to determine whether:

a)additional potential causes are introduced contributing to a hazardous situation;

b) Additional software RISK CONTROL measures are required.

[Class A,B,C]
	
	P

	7.4.2
	Analyse impact of software changes on existing RISK CONTROL measures
The MANUFACTURER shall analyse changes to the software, including changes to SOUP, to determine whether the software modification could interfere with existing RISK CONTROL measures. [Class B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	7.4.3
	Perform risk management ACTIVITIES based on analyses 

The MANUFACTURER shall perform relevant risk management ACTIVITIES defined in 7.1, 7.2 and 7.3 based on these analyses. [Class B,C] 
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Risk Management File
	P

	8
	Software configuration management process 
	/
	/

	8.1
	Configuration identification 
	/
	/

	8.1.1
	Establish means to identify configuration ITEMS
 The MANUFACTURER shall establish a scheme for the unique identification of configuration ITEMS and their versions to be controlled for the project. This scheme shall include other SOFTWARE PRODUCTS or entities such as SOUP and documentation. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Configuration Management Plan>
	P

	8.1.2
	Identify SOUP 

For each SOUP configuration item being used, including standard libraries, the MANUFACTURER shall document:

a) the title,

b) the MANUFACTURER,

c) the unique SOUP designator

of each SOUP CONFIGURATION ITEM being used. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Configuration Management Plan>
	N/A

	8.1.3
	Identify SYSTEM configuration documentation The MANUFACTURER shall document the set of configuration ITEMS and their versions that comprise the SOFTWARE SYSTEM configuration.

[Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Software Configuration Management Plan>

Released Software Version List
	P

	8.2
	Change control 
	/
	/

	8.2.1
	Approve CHANGE REQUESTS 

The MANUFACTURER shall change configuration ITEMS only in response to an approved CHANGE REQUEST. [Class A,B,C] 
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Design Change Apply
	P

	8.2.2
	Implement changes 

The MANUFACTURER shall implement the change as specified in the change request. The MANUFACTURER shall identify and perform any ACTIVITY that needs to be repeated as a result of the change, including changes to the software safety classification of SOFTWARE SYSTEM and SOFTWARE ITEMS. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Design Change Note
	P

	8.2.3
	Verify changes 

The MANUFACTURER shall verify the change, including repeating any VERIFICATION that has been invalidated by the change and taking into account 5.7.3 and 9.7. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Design Change Note
	P

	8.2.4
	Provide means for traceability of change 
	/
	/

	
	The MANUFACTURER shall create an audit trail whereby each:

a) change request;

b) relevant PROBLEM REPORT; and 

c) approval of the CHANGE REQUEST.

Can be traced. [Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Design Change 
	P

	8.3
	Configuration status accounting 

The MANUFACTURER hall retains retrievable records of the history of controlled configuration. ITEMS including SYSTEM configuration. [Class A,B,C] 
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Released Software Version List
	P

	9
	Software problem resolution process
	/
	/

	9.1
	Prepare PROBLEM REPORTS 
	/
	/

	
	The MANUFACTURER shall prepare a PROBLEM REPORT for each problem detected in a SOFTWARE PRODUCT. PROBLEM REPORTS shall be classified as follows:

a)type;

EXAMPLE 1 corrective, preventive, or adaptive to new environment.

b) scope; and

EXAMPLE 2 size of change, number of device models affected, supported accessories affected, resources , involved, time to change.

c) criticality.

EXAMPLE 3 effect on performance, safety, or security.

[Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Quality Manual
	P

	9.2
	Investigate the problem 
	/
	/

	
	The MANUFACTURER shall:

a)investigate the problem and if possible identify the causes;

b)Evaluate the problem’s relevance to safety using the software RISK MANAGEMENT PROCESS.(Clause 7)

c)document the outcome of the investigation and evaluation; and

d) create a CHANGE REQUEST(s) for actions needed to correct the problem, or document the rationale for taking no action.

[Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Correct and Prevent action
	P

	9.3
	Advise relevant parties
 The MANUFACTURER shall advise relevant parties of the existence of the problem, as appropriate.

[Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Vigilance system Control Procedures
	P

	9.4
	Use change control process 

The MANUFACTURER shall approve and implement all CHANGE REQUESTS, observing the requirements of the change control process (see 8.2)

[Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Correct and Prevent action
	P

	9.5
	Maintain records
 The MANUFACTURER shall maintain records of PROBLEM REPORTS and their resolution including their VERIFICATION. The MANUFACTURER shall update the RISK MANAGEMENT FILE as appropriate (see 7.4)

[Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Design Change Note
	P

	9.6
	Analyse problems for trends 

The MANUFACTURER shall perform analysis to detect trends in PROBLEM REPORTS. 

[Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Correct and Prevent action 
	P

	9.7
	Verify software problem resolution 
	/
	/

	
	The MANUFACUTERER shall verify resolutions to determine whether:

a)problem has been resolved and the problem report has been closed;

b)adverse trends have been reversed;

c)CHANGE REQUESTS have been implemented in the appropriate SOFTWARE PRODUCTS and ACTIVITIES; and

d)additional problems have been introduced.

[Class A,B,C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Correct and Prevent action
	P

	9.8
	Test documentation contents 

When testing, retesting or REGERSSION TESTING SOFTWARE ITEMS and SYSTEMS following a change, the MANUFACTURER shall include in the test documentation:

a) test results; 
b) ANOMALIES found; 
c) the version of software tested; 
d) relevant hardware and software test configurations; 
e) relevant test tools; 
f) date tested; 

g) identification of the tester.

[Class A, B, C]
	以下为参考示例，仅供参考，需要根据产品及文档实际情况调整)

<Product Software Management Specification>

Correct and Prevent action 
	P


专业带去价值，服务赢来美誉!                                 模板仅供参考，请以法规要求为准。
第 15 页 共 1 页
专业带去价值，服务赢来美誉!                                 模板仅供参考，请以法规要求为准。

